VIRGINIA

MILITARY CONSTRUCTION

| Installation/ Location | State | Project Title | Estimated Cost ($000) | Project Category |
| --- | --- | --- | --- | --- |
| ARMY |
| Fort Belvoir | VA | Child Development Center | 14,600 | Child Development Centers |
| Fort Eustis | VA | Child Development Center | 9,600 | Child Development Centers |
| Radford AAP | VA | Family Housing Replacement Construction (4 units) | 1,300 | Family Housing Construction |
| Fort Lee | VA | High Efficiency Lighting (Phase III) | 2,750 | ECIP |
| Fort Lee | VA | High Efficiency Lighting (Phase III) | 1,416 | ECIP |
| NAVY & MARINE CORPS |
| Hampton Roads | VA | Install Photovoltaic Systems | 26,098 | Energy Conservation & Alternative Energy |
| Naval Station Norfolk | VA | Repair Steam Lines | 1,054 | Energy Conservation & Alternative Energy |
| Naval Station Norfolk | VA | Steam Plant Area Decentralization | 23,593 | Energy Conservation & Alternative Energy |
| Naval Air Station Oceana | VA | Solar Ventilation Preheat | 825 | ECIP |
| Naval Shipyard Norfolk | VA | Solar & Lighting | 1,257 | ECIP |
| Naval Station Norfolk | VA | Solar & Lighting | 1,022 | ECIP |

(Military Construction estimates do not include Planning & Design)

FACILITIES SUSTAINMENT, RESTORATION & MODERNIZATION (FSRM)

| Installation/ Location | State | Project Title | Estimated Cost ($000) | Project Category* |
| --- | --- | --- | --- | --- |
| ARMY |
| Fort A.P. Hill | VA | Repair/Replace Bathrooms in Wilcox Barracks | 700 | B |
| Fort A.P. Hill | VA | Replace Doors Wilcox Camp | 200 | B |
| Fort A.P. Hill | VA | Lower Ceilings in Dining Facility (Wilcox) | 150 | B |
| Fort A.P. Hill | VA | Replace Exhaust Fans in Wilcox Dining Facilitys | 75 | B |
| Fort A.P. Hill | VA | Install Siding and New Windows to 1637 | 70 | B |
| Fort A.P. Hill | VA | Paint Interior of Dining Facility | 60 | B |
| Fort A.P. Hill | VA | Replace All Wilcox Dining Facility Doors | 60 | B |
| Fort A.P. Hill | VA | Replace Baths, Kitchens, and Repair Exteriors | 50 | F |
| Fort A.P. Hill | VA | Gregg/Lent Road Bridge | 575 | P |
| Fort A.P. Hill | VA | Improve Safety of Wilcox Landing Site | 290 | P |
| Fort A.P. Hill | VA | Repair Beaver Dam Water Control Structure | 150 | P |
| Fort A.P. Hill | VA | Replace Roof 1641 on Dining Facility in Wilcox | 65 | R |
| Fort A.P. Hill | VA | Replace Roof on 1690 Dining Facility Wilcox | 65 | R |
| Fort Belvoir | VA | Replace Windows/Repair Insulation, Exterior Façade, and Vapor Barrier, VOLAR Barracks, Building 2109 | 1,900 | B |
| Fort Belvoir | VA | Replace Windows/Repair, Insulation, Exterior Façade and Vapor Barrier, VOLAR Barracks, Building 2111 | 1,700 | B |
| Fort Belvoir | VA | Decentralize Heating Plant, Building 808 | 4,200 | E |
| Fort Belvoir | VA | Decentralize Heating Plant, 12th Street | 3,200 | E |
| Fort Belvoir | VA | Replace HVAC System, Building 201 | 2,000 | E |
| Fort Belvoir | VA | Repair HVAC, Building 20, Officers Club | 1,800 | E |
| Fort Belvoir | VA | Repair HVAC. Building 246, Communications Center | 500 | E |
| Fort Belvoir | VA | Upgrade Housing Services Office | 70 | F |
| Fort Belvoir | VA | Repair/Alter Building 257, SJA office | 2,500 | O |
| Fort Belvoir | VA | Replace Approach/Departure Lights/Controls, Davison AAF | 1,215 | O |
| Fort Belvoir | VA | Repair/Seal Leaking Basements, 200-Area | 350 | O |
| Fort Belvoir | VA | Replace Farrar Road Bridge Facno3291, Davison Army Airfield | 2,600 | P |
| Fort Belvoir | VA | Repair Facilities 3202, 3203 Fixed and Rotary Wing Parking Apron | 945 | P |
| Fort Belvoir | VA | Repair 16th Street | 875 | P |
| Fort Belvoir | VA | Bridge Repairs | 400 | P |
| Fort Belvoir | VA | Replace Storm Water Lines, Mount Vernon Road | 400 | P |
| Fort Belvoir | VA | Removal and Replacement of fuel storage tanks | 650 | Q |
| Fort Belvoir | VA | Building 200, Fire Suppression System | 500 | Q |
| Fort Belvoir | VA | Replace Kitchen, Building 1003, Youth Center | 79 | Q |
| Fort Eustis | VA | Repair Steam Distribution at Central Heating and Cooling Plant, Building 801 | 2,573 | E |
| Fort Eustis | VA | HVAC System Repairs for Energy Conservation, Building 814 | 1,022 | E |
| Fort Eustis | VA | HVAC System Repairs for Energy Conservation, Building 804 | 1,002 | E |
| Fort Eustis | VA | HVAC System Repairs for Energy Conservation, Building 810 | 918 | E |
| Fort Eustis | VA | HVAC System Repairs for Energy Conservation, Building 815 | 918 | E |
| Fort Eustis | VA | Renovate Latrines & HVAC, Building 810 | 910 | E |
| Fort Eustis | VA | Restore Steam Dist/Cond Return System, 1400 Area and Barracks Mech Rooms | 450 | E |
| Fort Eustis | VA | Enhanced Equipment Energy Conservation Automation, 900 Block | 62 | E |
| Fort Eustis | VA | Chemical Clean Boilers, Buildings 587 & 2701 | 50 | E |
| Fort Eustis | VA | Mill, Resurface & Restrip Runway, FAAF | 1,674 | O |
| Fort Eustis | VA | Renovate Hangar, Building 2413, Ph 1 | 650 | O |
| Fort Eustis | VA | Install Left Turn Lanes & Repave Lee Blvd | 502 | P |
| Fort Eustis | VA | Mill & Repave Washington Blvd | 500 | P |
| Fort Eustis | VA | Install Traffic Signal at Intersection of Madison Onto Lee, Construct New Left Turn Lane | 316 | P |
| Fort Eustis | VA | Install Sprinkler Systems in Public Assembly Building, Building 828 | 306 | Q |
| Fort Eustis | VA | Upgrade & Expand Weight & Circuit Area, Building 643 | 272 | Q |
| Fort Lee | VA | Lee Club HVAC Replacement | 3,000 | E |
| Fort Lee | VA | HVAC Replacement Phase A, Wing "A" Almc | 1,734 | E |
| Fort Lee | VA | Replace HVAC, Clark Fitness Center | 800 | E |
| Fort Lee | VA | McLaughlin Fitness Center, HVAC and Electrical, Cardio Room | 250 | E |
| Fort Lee | VA | Repair/Improve 11th Street, Quartermaster Rd to A Avenue | 2,000 | P |
| Fort Lee | VA | Repair Bridges | 572 | P |
| Fort Myer | VA | Renovate Exteriors and Repair Porches, SNCO Family Housing, Sheridan St. | 550 | F |
| Fort Myer | VA | Design & Install Fire Sprinkler System, Building 407, Myer | 750 | Q |
| Fort Pickett ARNG MTC | VA | Phase II 2400 Renovation | 2,993 | E |
| Fort Pickett ARNG MTC | VA | Phase I 2400 Renovation | 2,783 | E |
| Fort Pickett ARNG MTC | VA | Replace Energy Inefficient Building Components | 1,759 | E |
| Fort Story | VA | Repair Central Heating and Cooling Plant, Building 865 | 629 | E |
| Fort Story | VA | Chesapeake Bay Shoreline Restoration | 2,198 | P |
| Radford Army Ammunition Plant | VA | Repave Family Housing Roadway | 190 | F |
| Radford Army Ammunition Plant | VA | Repair Sidewalks in Family Housing Area | 195 | F |
| NAVY & MARINE CORPS |
| Naval Air Station Oceana | VA | Repair Runway 5R/23L | 26,220 | O |
| Naval Amphibious Base Little Creek | VA | Replace Lighting System at Piers | 1,902 | E |
| Naval Station Norfolk | VA | Repair Aircraft Parking Aprons, Landing Plane and Landing Field Areas | 43,605 | O |
| Naval Support Activity Norfolk | VA | Modernize Central HVAC Plant | 8,541 | E |
| Norfolk Naval Shipyard | VA | Replace Elevators #37 and #40 Building 171 | 2,100 | O |
| AIR FORCE |
| Langley AFB | VA | Install Heat Destratification Fans, Fac.789 | 12 | E |
| Langley AFB | VA | Repair Hangar Door Seals, 10 Bldgs | 211 | E |
| Langley AFB | VA | Install Demand Ventilation Controls for 81 Bldgs | 374 | E |
| Langley AFB | VA | Repair Inefficient Motors In Water Source Heat Pumps, F. 693 | 439 | E |
| Langley AFB | VA | Extend Electrical Service DVP #12 | 740 | E |
| Langley AFB | VA | Repair Floors, HVAC, Latrines, Admin Fac 374 | 793 | E |
| Langley AFB | VA | Repair By Replace Inefficient Lighting Systems | 1,046 | E |
| Langley AFB | VA | Repair Airfield Ramp Lights on East & West Aprons | 1,631 | E |
| Langley AFB | VA | Repair Building Automation Systems In 20 Facilities | 3,065 | E |
| Langley AFB | VA | Repair Hangar, Fac. 752 | 1,797 | O |
| Langley AFB | VA | Repair Roof Section C, Admin Fac. 330 | 2,114 | R |
| DEFENSE-WIDE |
| Fort AP Hill | VA | Modernize Lois E Wells Clinic | 1,260 | M |
| Fort Belvoir | VA | Repair Building Exteriors Medical Buildings 805-815 | 2,336 | M |
| Fort Belvoir | VA | Modernize Building 805 Health Clinic | 3,412 | M |
| Fort Eustis | VA | Chill Water Loop Reconfiguration | 630 | E |
| Fort Eustis | VA | Repair Medical Storage Warehouse Building 00658 | 420 | M |
| Fort Eustis | VA | Renovatate Utilities Veterinary Buildings 2788/2790 | 682 | M |
| Fort Lee | VA | Modernize/Repair First Floor B Wing, Kenner Army Health Clinic | 840 | M |
| Fort Lee | VA | Repair Exterior to Building 8130, Kenner Army Health Clinic | 714 | M |
| Fort Lee | VA | Modernize Radiology/Laboratory Departments | 777 | M |
| Fort Lee | VA | Modernize Medical Warehouse | 1,208 | M |
| Fort Lee | VA | Repair Troop Medical Clinic Building 3219 | 788 | M |
| Langley AFB | VA | Repair HVAC system, chillers and controls in Hospital | 8,600 | E |
| Langley AFB | VA | Repair Hospital internal electrical distribution system | 3,900 | E |
| Langley AFB | VA | Repair Hospital interior plumbing | 2,025 | E |
| Langley AFB | VA | Modernize Outpatient Clinics in Hospital | 26,145 | M |
| Langley AFB | VA | Demolish Medical Outpatient Building 72 | 2,200 | M |
| Langley AFB | VA | Repair communication infrastructure and cabling in Hospital | 5,130 | U |
| NAVMEDCEN Portsmouth | VA | Replace Roof and Repair Exterior Building Medical Admin Building-3 | 29,000 | R |

# *  FSRM Project Category

# E – Energy-Related

# R – Roof Repair/Replacement

# U – Utilities

# P – Pavement/Roads/Grounds

# B – Barracks

# Q – Quality-of-Life

# O – Operations

# M – Medical

# F – Family Housing